## Sheet1
Type of part | Notes: | IDF | Server | small colo | big colo | Manuf. | Manuf. PN | Vendor1 | Vendor 1 PN | URL | Vendor2 | Vendor 2 PN | URL
Bin | BLUE colored bin |  |  |  |  | Akro Mils |  | Grainger | 4HY35 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4HY35
bin | RED colored bin | 10 | 25 | 30 | 120 | Akro Mils |  | Grainger | 4hy36 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4HY36
bin | GRAY colored bin |  |  |  |  | Akro Mils |  | Grainger | 4tj74 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4TJ74
bin | WHITE colored bin |  |  |  |  | Akro Mils |  | Grainger | 4KEV4 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4KEV4
bin stacker | 60 small red bins |  | 1 | 1 | 2 | Akro Mils |  | Akro Mils | AWS183630318 | https://akro-mils.com/Products/Types/Cabinets-Racks-Shelving-Panels/Wire-Shelving/AWS183630318#
boxcutter | used to cut boxes | 2 | 2 | 4 | 4 | Stanley |  | Grainger | 10-499 | http://www.grainger.com/Grainger/STANLEY-Retractable-Knife-5C944
tape measure | tape measure | 1 | 1 | 2 | 2 |  |  | Grainger | 3TB93 | http://www.grainger.com/Grainger/STANLEY-Measuring-Tape-3TB93
earplugs | earplugs (200 Pair) | 1 | 1 | 2 | 2 |  |  | Grainger | 5FV14 | http://www.grainger.com/Grainger/HOWARD-LEIGHT-BY-HONEYWELL-Ear-Plugs-5FV14
pliers | pliers | 1 | 1 | 2 | 2 |  |  | Grainger | 1UKK1 | http://www.grainger.com/Grainger/WESTWARD-Long-Needle-Nose-Pliers-1UKK1
pliers | linesman pliers | 1 | 1 | 2 | 2 |  |  | Grainger | 1UKJ7 | http://www.grainger.com/Grainger/WESTWARD-Linesman-Pliers-1UKJ7
mallet | Used for assembly | 1 | 1 | 2 | 2 |  |  | Grainger | 5MX42 | http://www.grainger.com/Grainger/WESTWARD-Rubber-Mallet-Hammer-5MX42
wire cutters | Diagonal wire cutters | 1 | 1 | 2 | 2 |  |  | Grainger | 1UKL2 | http://www.grainger.com/Grainger/WESTWARD-Diagonal-Cutter-Pliers-1UKL2
screwdrivers | screwdriver set | 1 | 1 | 2 | 2 |  |  | grainger | 6C287 | http://www.grainger.com/Grainger/STANLEY-Combination-Screwdriver-Set-6C287
3' stepladder | stepladder |  | 1 | 1 | 1 |  |  | grainger | 41D246 | http://www.grainger.com/Grainger/WERNER-Double-Sided-Stepladder-41D246
7' ladder | Ladder for high work |  |  | 1 | 1 | Werner | 7407 | grainger | 3AZX5 | https://www.grainger.com/product/WERNER-7-ft-375-lb-Load-Capacity-3AZX5
drill bits | long #3 bits | 1 | 1 | 1 | 2 |  |  | grainger | 3ECH3 | http://www.grainger.com/Grainger/IRWIN-Phillips-Power-Bit-3ECH3
Drill | 20v/ 110V Drill | 1 | 1 | 1 | 2 |  |  | grainger | 2AEU8 | https://www.grainger.com/product/DEWALT-20V-MAX-Premium-Li-Ion-1-2-39RW10
drill bits | drill screw bits | 1 | 1 | 1 | 2 |  |  | grainger | 4WM46 | http://www.grainger.com/Grainger/DEWALT-Screwdriver-Set-4WM46
Drill adapter | 200W 110V Adapter | [6 empty] | Amazon | B01M3MXMA3 | https://www.amazon.com/BESTEK-Converter-Voltage-International-Adapter/dp/B01M3MXMA3
Drill adapter | C14 to C5 adapter | [6 empty] | Quail | 3506.072 | https://www.quail.com/product.htm?pid=258588
Cart | portable cart |  | 1 | 2 | 4 |  |  | grainger | 2EWT2 | http://www.grainger.com/Grainger/RUBBERMAID-Utility-Cart-4YX44
trash can | 44Gallon (large) |  | 1 | 1 | 2 |  |  | grainger | 5DMU5 | http://www.grainger.com/Grainger/RUBBERMAID-Utility-Container-3W224
trash can wheels | wheels for can |  | 1 | 1 | 2 |  |  | grainger | 5W007 | http://www.grainger.com/Grainger/RUBBERMAID-5Wheel-Dolly-5W007
equipment lift | lift up to 6' 8" high |  | 1 | 1 | 1 |  |  | grainger | 2MPT7 | http://www.grainger.com/Grainger/DAYTON-Hydraulic-Platform-Lift-2MPT7 | Serverlift
equipment lift | lift up to 5' 8" high | [6 empty] | grainger | 2MPT6 | http://www.grainger.com/Grainger/DAYTON-Hydraulic-Platform-Lift-2MPT6 | Serverlift
Bin cabinet | for small parts |  | 1 | 1 | 1 |  |  | grainger | 3NYL9 | http://www.grainger.com/Grainger/DURHAM-Bin-Cabinet-3NYL9
cabinet | see-through cabinet |  | 1 | 1 | 2 |  |  | grainger | 34C214 | http://www.grainger.com/Grainger/HALLOWELL-Storage-Cabinet-34C214
back support | back support (L) | 1 | 2 | 2 | 4 |  |  | grainger | 1EC64 | http://www.grainger.com/Grainger/CONDOR-Back-Support-with-Stay-1EC64
folding table | Table |  | 1 | 1 | 2 |  |  | Grainger | 4GE26 | http://www.grainger.com/Grainger/Folding-Table-4GE26
folding chair | chair | 1 | 2 | 2 | 4 |  |  | Grainger | 2W158 | http://www.grainger.com/Grainger/Folding-Chair-2W158
RJ45 - DB9 | for serial | 5 | 10 | 10 | 10 | Legrand | 21109DA8MKIT | Anixter | 130287 | https://www.anixter.com/en_uk/product-detail.21109DA8MKIT-ORTRONICS.PS-Copper%2BAdapters.130287.html
RJ45 - DB9 | for serial | 5 | 10 | 10 | 10 |  | 21109DA8FKIT | Anixter | 130288 | https://www.anixter.com/en_us/products/21109DA8FKIT/ORTRONICS/Copper-Adapters/p/130288
labeller | Labeller | 1 | 2 | 2 | 2 | Brother | PT-E550W | CDW | PT-E550W | https://www.cdw.com/shop/products/Brother-PT-E550W-Monochrome-Thermal-Label-Printer/3341744.aspx
labeller | 1/2" Label tape | 5 | 10 | 10 | 10 | Brother | TZES231 | CDW | TZES231 | http://www.cdw.com/shop/products/Brother-TZe-S231-laminated-extra-strength-adhesive-tape-1-rolls/2312526.aspx
labeller | 1" Label tape | 5 | 10 | 10 | 10 | Brother | tzes251 | CDW | tzes251 | http://www.cdw.com/shop/products/Brother-TZe-S251-laminated-extra-strength-adhesive-tape-1-rolls/2312536.aspx
velcro | 10 - 35' velcro | 1 | 2 | 2 | 3 | Panduit | TTS-35rx0 | cdw | TTS-35rx0 | http://www.cdw.com/shop/products/Tak-Tape-cable-tie/695151.aspx
Serial | Console adapter | 10 | 40 | 40 | 40 |  |  | cdw | ADB0039 | http://www.cdw.com/shop/products/Cyclades-crossover-adapter/995263.aspx
fiber cleaner | LC/SC/MTP (F) Cleaner | 1 | 1 | 1 | 2 | cletop | 14110501 | cletop | 14110501 | http://www.amazon.com/CLETOP-S-14110501-Type-Cleaner-Blue/dp/B008E0M4XE
fiber cleaner | cletop - SC Duplex Cleaner | 1 | 1 | 1 | 2 |  |  | cletop | 14110611 | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/afl-cletop-s-8500-10-0020mz-type-a-fiber-connector-cleaner-blue.html
fiber cleaner | cletop - LC Duplex Cleaner | 1 | 1 | 1 | 2 |  |  | cletop | 14110611 | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/afl-cletop-s-8500-10-0029mz-type-b-fiber-connector-cleaner-blue.html
fiber cleaner | USConec SC Single End panel Cleaner | 1 | 1 | 1 | 2 | US Conec | 9392 | Specialized | 846X900 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/9392-us-conec-2-5mm-ibc-brand-cleaning-tool-sc-fc-st-upc-apc.html
fiber cleaner | Usconec LC Dual End Panel Cleaner | 1 | 1 | 1 | 2 | US Conec | 14303 | Specialized | 846X242 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/14303-us-conec-ibc-brand-cleaner-lc2-dual-lc-end-face-cleaner.html
fiber cleaner | USConec MTP End panel cleaner | 1 | 1 | 1 |  | US Conec | 15546 | Specialized | 846X260 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/us-conec-15546-ibc-brand-mt-based-ferrule-cleaner-mt38ii-m38999.html
Fiber tester | 1KM Visual Fault Locator | [6 empty] | Fiberstore | FVFL-204 | https://www.fs.com/products/35388.html
Fiber tester | 60Km Visual Fault Locator | [6 empty] | Fiberstore | 66808 | https://www.fs.com/products/66808.html
Fiber tester | Light Meter | [6 empty] | Fiberstore | 11148 | https://www.fs.com/products/11148.html
Fiber tester | Light Source | [6 empty] | Fiberstore | 17996 | https://www.fs.com/products/17996.html
Fiber tester | Fiber Magnifier | [6 empty] | Fiberstore | FFOI-601 | https://www.fs.com/products/14126.html
Fiber tester | SC to LC Adapter | [6 empty] | Fiberstore | AD-FVFL | https://www.fs.com/products/66804.html
fiber attenuator | 3dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48522 | https://www.fs.com/products/48522.html |  |  | http://www.amazon.com/Lynn-Electronics-LCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DFYS
fiber attenuator | 5dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48523 | https://www.fs.com/products/48523.html |  |  | http://www.amazon.com/Lynn-Electronics-LCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG1K
fiber attenuator | 7dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48525 | https://www.fs.com/products/48525.html |  |  | http://www.amazon.com/Lynn-Electronics-LCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DG0Q
fiber attenuator | 3dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48528 | https://www.fs.com/products/48528.html |  |  | http://www.amazon.com/Lynn-Electronics-SCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DG8
fiber attenuator | 5dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48529 | https://www.fs.com/products/48529.html |  |  | http://www.amazon.com/Lynn-Electronics-SCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG60
fiber attenuator | 10dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48531 | https://www.fs.com/products/48531.html |  |  | http://www.amazon.com/Lynn-Electronics-SCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DGJW
power cables | C20- Nema 5-15P 1' |  |  | 3 |  |  |  | Quail | 5283.012 | https://www.quail.com/product.htm?pid=259937&cat=20794
power cables | C14- Nema 5-15P 1' |  |  | 3 |  |  |  | Quail | 5250.012 | https://www.quail.com/product.htm?pid=259706&cat=20945
power cables | C14- Nema 5-15P 3" |  |  | 3 |  |  |  | Datacentergear | PWRC14515R | https://www.amazon.com/Toptekits-Adapter-5-15r-Converter-adaptor/dp/B002OFR6R4
power cables | C13-C14 6 ft - BLK 14 AWG |  |  | 5 |  |  |  | Quail | 6260.072 | https://www.quail.com/product.htm?pid=260529&cat=20937
power cables | C19-C20 6 ft - BLK 14 AWG |  |  | 5 |  |  |  | Quail | 3517.072
power cables | C13-C14 6 ft - RED 14 AWG |  |  | 5 |  |  |  | Quail | 6260.072R | https://www.quail.com/product.htm?pid=260538&cat=20943
power cables | C19-C20 6 ft - RED 14 AWG |  |  | 5 |  |  |  | Quail | 3517.072R
power cables | C13-C14 3 ft - BLK 14 AWG |  |  | 5 |  |  |  | Quail | 6260.039
power cables | C19-C20 3 ft - BLK 14 AWG |  |  | 5 |  |  |  | Quail | 3517.039
power cables | C13-C14 3 ft - RED 14 AWG |  |  | 5 |  |  |  | Quail | 6260.039R
power cables | C19-C20 3 ft - RED |  |  | 5 |  |  |  | Quail | 3517.039R
power cables | C21-C20 6 ft - Blk |  |  | 3 |  |  |  | stayonline | PFC2012C2172 | https://www.stayonline.com/power-cords/c20-to-c21-power-cords-5176.asp
power cables | C21-C20 6 ft - RED |  |  | 3 |  |  |  | stayonline | PFC2012C2172R | https://www.stayonline.com/power-cords/c20-to-c21-power-cords-1512.asp
Power cables | C19 Sleeve |  |  | 100 |  |  |  | stayonline | C19SecureSleeveTabBlack | https://www.stayonline.com/power-cords/iec-320-female-over-mold-inserts-8436.asp
Power cables | C13 Sleeve |  |  | 100 |  |  |  | stayonline | C13SecureSleeveTabBlack | https://www.stayonline.com/power-cords/iec-320-female-over-mold-inserts-6164.asp
Fiber cable | 1M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-1M-PVC | https://www.fs.com/products/59578.html
Fiber cable | 2M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-2M-PVC | https://www.fs.com/products/59579.html
Fiber cable | 3M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-3M-PVC | https://www.fs.com/products/59580.html
Fiber cable | 5M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-5M-PVC | https://www.fs.com/products/59582.html
Fiber cable | 10M - LC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-10M-PVC
Fiber cable | 15M - LC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-15M-PVC
Fiber cable | 1M - SC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-1M-PVC | https://www.fs.com/products/59650.html
Fiber cable | 2M - SC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-2M-PVC | https://www.fs.com/products/59651.html
Fiber cable | 3M - SC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-3M-PVC | https://www.fs.com/products/59653.html
Fiber cable | 5M - SC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-5M-PVC | https://www.fs.com/products/59655.html
Fiber cable | 10M - SC-LC SMF Duplex UPC BI |  |  | 2 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-10M-PVC
Fiber cable | 15M - SC-LC SMF Duplex UPC BI |  |  | 2 |  |  |  | Fiberstore | SM-LCU-SCU-DXBI-FS-15M-PVC | https://www.fs.com/products/59659.html
Fiber cable | 1M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-1M-PVC | https://www.fs.com/products/59969.html
Fiber cable | 2M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-2M-PVC | https://www.fs.com/products/59970.html
Fiber cable | 3M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-3M-PVC | https://www.fs.com/products/59971.html
Fiber cable | 5M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-5M-PVC | https://www.fs.com/products/59973.html
Fiber cable | 10M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-10M-PVC | https://www.fs.com/products/59976.html
Fiber cable | 15M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DXBI-FS-15M-PVC | https://www.fs.com/products/59977.html
Copper Cable | 3 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP3BU | Eanixter: MM03-PA7SD-06
Copper Cable | 4 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP4BU | Eanixter: MM04-PA7SD-06
Copper Cable | 5 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP5BU | Eanixter: MM05-PA7SD-06
Copper Cable | 6 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP6BU | Eanixter: MM06-PA7SD-06
Copper Cable | 7 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP7BU | Eanixter: MM07-PA7SD-06
Copper Cable | 8 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP8BU | Eanixter: MM08-PA7SD-06
Copper Cable | 9 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP9BU | Eanixter: MM09-PA7SD-06
Copper Cable | 10 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP10BU | Eanixter: MM10-PA7SD-06
Copper Cable | 14 ft blue 28awg <3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP14BU | Eanixter: MM14-PA7SD-06
Copper Cable | 18 ft blue 28awg <3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP18BU | Eanixter: MM18-PA7SD-06
Copper Cable | 20 ft blue 28awg <3.8mm OD | [6 empty] | panduit | UTP28SP20BU | Eanixter: MM20-PA7SD-06
Copper Cable | 25 ft blue 28awg <3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP25BU | Eanixter: MM25-PA7SD-06
Copper Cable | 30 ft blue 28awg <3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP30BU | Eanixter: MM30-PA7SD-06
Copper Cable | 40 ft blue 28awg <3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP40BU | Eanixter: MM40-PA7SD-06
Copper Cable | 50 ft blue 28awg <3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP50BU | Eanixter: MM50-PA7SD-06
Copper Cable | 3 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP3RD | Eanixter: MM03-PA7SD-03
Copper Cable | 4 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP4RD | Eanixter: MM04-PA7SD-03
Copper Cable | 5 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP5RD | Eanixter: MM05-PA7SD-03
Copper Cable | 6 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP6RD | Eanixter: MM06-PA7SD-03
Copper Cable | 7 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP7RD | Eanixter: MM07-PA7SD-03
Copper Cable | 8 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP8RD | Eanixter: MM08-PA7SD-03
Copper Cable | 9 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP9RD | Eanixter: MM09-PA7SD-03
Copper Cable | 10 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP10RD | Eanixter: MM10-PA7SD-03
Copper Cable | 14 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP14RD | Eanixter: MM14-PA7SD-03
Copper Cable | 18 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP18RD | Eanixter: MM18-PA7SD-03
Copper Cable | 20 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP20RD | Eanixter: MM20-PA7SD-03
Copper Cable | 25 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP25RD | Eanixter: MM25-PA7SD-03
Copper Cable | 30 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP30RD | Eanixter: MM30-PA7SD-03
Copper Cable | 40 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP40RD | Eanixter: MM40-PA7SD-03
Copper Cable | 50 ft red 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP50RD | Eanixter: MM50-PA7SD-03
Copper Cable | 3 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP3BL | Eanixter: MM03-PA7SD-02
Copper Cable | 4 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP4BL | Eanixter: MM04-PA7SD-02
Copper Cable | 5 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP5BL | Eanixter: MM05-PA7SD-02
Copper Cable | 6 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP6BL | Eanixter: MM06-PA7SD-02
Copper Cable | 7 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP7BL | Eanixter: MM07-PA7SD-02
Copper Cable | 8 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP8BL | Eanixter: MM08-PA7SD-02
Copper Cable | 9 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP9BL | Eanixter: MM09-PA7SD-02
Copper Cable | 10 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP10BL | Eanixter: MM10-PA7SD-02
Copper Cable | 14 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP14BL | Eanixter: MM14-PA7SD-02
Copper Cable | 18 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP18BL | Eanixter: MM18-PA7SD-02
Copper Cable | 20 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP20BL | Eanixter: MM20-PA7SD-02
Copper Cable | 25 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP25BL | Eanixter: MM25-PA7SD-02
Copper Cable | 30 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP30BL | Eanixter: MM30-PA7SD-02
Copper Cable | 40 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP40BL | Eanixter: MM40-PA7SD-02
Copper Cable | 50 ft black 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP50BL | Eanixter: MM50-PA7SD-02
Copper Cable | 3 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP3YL | Eanixter: MM03-PA7SD-05
Copper Cable | 4 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP4YL | Eanixter: MM04-PA7SD-05
Copper Cable | 5 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP5YL | Eanixter: MM05-PA7SD-05
Copper Cable | 6 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP6YL | Eanixter: MM06-PA7SD-05
Copper Cable | 7 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP7YL | Eanixter: MM07-PA7SD-05
Copper Cable | 8 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP8YL | Eanixter: MM08-PA7SD-05
Copper Cable | 9 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP9YL | Eanixter: MM09-PA7SD-05
Copper Cable | 10 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP10YL | Eanixter: MM10-PA7SD-05
Copper Cable | 14 ft yellow 28awg < 3.8mm OD |  |  | 10 |  |  |  | panduit | UTP28SP14YL | Eanixter: MM14-PA7SD-05
Copper Cable | 18 ft yellow 28awg < 3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP18YL | Eanixter: MM18-PA7SD-05
Copper Cable | 20 ft yellow 28awg < 3.8mm OD | [6 empty] | panduit | UTP28SP20YL | Eanixter: MM20-PA7SD-05
Copper Cable | 25 ft yellow 28awg < 3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP25YL | Eanixter: MM25-PA7SD-05
Copper Cable | 30 ft yellow 28awg < 3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP30YL | Eanixter: MM30-PA7SD-05
Copper Cable | 40 ft yellow 28awg < 3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP40YL | Eanixter: MM40-PA7SD-05
Copper Cable | 50 ft yellow 28awg < 3.8mm OD |  |  | 5 |  |  |  | panduit | UTP28SP50YL | Eanixter: MM50-PA7SD-05
Fiber cable | 1M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-1M-PVC | https://www.fs.com/products/60448.html
Fiber cable | 2M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-2M-PVC | https://www.fs.com/products/60449.html
Fiber cable | 3M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-3M-PVC | https://www.fs.com/products/60450.html
Fiber cable | 5M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-5M-PVC | https://www.fs.com/products/60451.html
Fiber cable | 10M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-10M-PVC | FS.com
Fiber cable | 15M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-15M-PVC | FS.com
Fiber cable | 1M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-1M-PVC | FS.com
Fiber cable | 2M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-2M-PVC | FS.com
Fiber cable | 3M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-3M-PVC | FS.com
Fiber cable | 5M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-5M-PVC | FS.com
Fiber cable | 10M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-10M-PVC | FS.com
Fiber cable | 15M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-15M-PVC | FS.com
Fiber cable | 1M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-1M-PVC | FS.com
Fiber cable | 2M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-2M-PVC | FS.com
Fiber cable | 3M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-3M-PVC | FS.com
Fiber cable | 5M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-5M-PVC | FS.com
Fiber cable | 10M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-10M-PVC | FS.com
Fiber cable | 15M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-15M-PVC | FS.com
Optical Transceiver | Transceiver programmer |  |  | 1 |  |  |  | flexoptix | FO.FB.V4A | https://www.flexoptix.net/en/flexbox-series-configure-universal-transceivers.html?395=1356&co8534=
Optical Transceiver | 1G OTDR Optic |  |  | 1 |  |  |  | flexoptix | S.OB1612.40.OD-MSA01 | https://www.flexoptix.net/en/microotdr-sfp-cwdm-singlefiber-transceiver-1-gigabit-sm-1270-1610nm-40km-21db-ddm-dom-sc.html?178=1026&co8527=76715
Optical Transceiver | 10G LR SFP+ Optic MSA Compatible |  |  | 20 |  |  |  | flexoptix | P.1396.10 | https://www.flexoptix.net/en/transceiver/sfp-plus-lr-transceiver-10-gigabit-stm64-sm-1310nm-10km-8db-ddm-dom.html?co3111=18433
Optical Transceiver | 10G SR SFP+ Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | P.8596.02 | https://www.flexoptix.net/en/transceiver/sfp-plus-sr-transceiver-10-gigabit-stm64-mm-850nm-300m-5db-ddm-dom.html?co3089=18291
Optical Transceiver | 10G ER SFP+ Optic MSA Compatible |  |  | TBD |  |  |  | flexoptix | P.1596.40 | https://www.flexoptix.net/en/transceiver/sfp-plus-er-transceiver-10-gigabit-stm64-sm-1550nm-40km-14db-ddm-dom.html?co3077=18221
Optical Transceiver | 10G ZR SFP+ Optic MSA Compatible |  |  | TBD |  |  |  | flexoptix | P.1596.80 | https://www.flexoptix.net/en/transceiver/sfp-plus-zr-transceiver-10-gigabit-stm64-sm-1550nm-80km-23db-ddm-dom.html?co3073=18207
Optical Transceiver | 1G SX SFP Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | S.8512.02.D
Optical Transceiver | 1G LX SFP Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | S.1312.10.D
Optical Transceiver | 40G QSFP LR4 Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | Q.1640G.10 | https://www.flexoptix.net/en/transceiver/qsfp-plus-lr4-transceiver-40-gigabit-sm-4-waves-1270-1330nm-10km-4db-ddm-dom.html?co7466=46469
Optical Transceiver | QSFP PLR Optic MSA Compatible (4x10G) |  |  | 0 |  |  |  | flexoptix | Q.1340G.10 | https://www.flexoptix.net/en/transceiver/qsfp-plus-parallel-lr4-transceiver-40-gigabit-sm-1310nm-10km-7db-ddm-dom.html?co7844=46473
Optical Transceiver | QSFP28 LR Optic MSA Compatible (100G) |  |  | 5 |  |  |  | flexoptix | Q.161HG.10 | https://www.flexoptix.net/en/transceiver/qsfp28-lr4-transceiver-100-gigabit-sm-4-waves-1295-1310nm-10km-4db-ddm-dom.html?co8501=76634
DAC CABLE | 2M QSFP28 (100G) -4xSFP28 (25G) - DAC |  |  | 5 |  |  |  | flexoptix | QP.C301HG.2-MSA01 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-4-x-sfp28-dac-breakout-cable-passive.html?300=1123&co8798=84475 | Molex | 100345-1202 | https://www.molex.com/molex/products/datasheet.jsp?part=active/1003451202_CABLE_ASSEMBLIES.xml
DAC CABLE | 3M QSFP28 (100G) -4xSFP28 (25G) - DAC |  |  | 5 |  |  |  | flexoptix |  |  | Molex | 1003451302 | https://www.molex.com/molex/products/datasheet.jsp?part=active/1003451302_CABLE_ASSEMBLIES.xml
DAC CABLE | 2M QSFP (40G) -4xSFP (10G) - DAC | [6 empty] | flexoptix | QP.C30.2 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-to-4-x-sfp-breakout-copper-cable-dac.html?300=1123&co9128=87511
DAC CABLE | 3M QSFP (40G) -4xSFP (10G) - DAC | [6 empty] | flexoptix | QP.C30.3 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-to-4-x-sfp-breakout-copper-cable-dac.html?300=1124&co7639=45019
DAC CABLE | 0.5M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 0 |  |  |  | flexoptix
DAC CABLE | 1M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 5 |  |  |  | flexoptix | Q.C301HG.1 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-qsfp28-dac-cable-passive.html?300=1121&co8850=85637
DAC CABLE | 2M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 5 |  |  |  | flexoptix | Q.C301HG.2 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-qsfp28-dac-cable-passive.html?300=1121&co8850=85637
DAC CABLE | 0.5M QSFP (40G) - QSFP (40G) - DAC |  |  | 0 |  |  |  | flexoptix | Q.C30.H | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-copper-cable-dac-for-40gigabit.html?300=1108&co7648=48637
DAC CABLE | 1M QSFP (40G) - QSFP (40G) - DAC |  |  | 0 |  |  |  | flexoptix | Q.C30.1 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-copper-cable-dac-for-40gigabit.html?300=1121&co7634=48636
DAC CABLE | 0.5M SFP (10G) - SFP (10G) - DAC |  |  | 5 |  |  |  | flexoptix | P.C30.H | https://www.flexoptix.net/en/universal-dac-aoc/passive-sfp-copper-cable-dac-for-10gigabit.html?300=1108&co8322=53622
DAC CABLE | 1M SFP (10G) - SFP (10G) - DAC |  |  | 5 |  |  |  | flexoptix | P.C30.1 | https://www.flexoptix.net/en/universal-dac-aoc/passive-sfp-copper-cable-dac-for-10gigabit.html?300=1121&co3122=18501
AOC Cable | 10M QSFP28 (100G) - QSFP28 (100G) - AOC |  |  | 5 |  |  |  | flexoptix | Q.A851HG.10 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-aoc-qsfp-transceiver-mm-850nm.html?300=1131&co8504=76640
AOC Cable | 15M QSFP28 (100G) - QSFP28 (100G) - AOC |  |  | 5 |  |  |  | flexoptix | Q.A851HG.15
Rack Parts | M6 Screws 3/4" |  |  | 200 |  |  |  | datafig | 5210 | https://www.stayonline.com/detail.aspx?id=12689
Rack Parts | M6 Rack nuts |  |  | 200 |  |  |  | DataFig | 5810 | https://www.stayonline.com/detail.aspx?id=23012
Patch Panel | 4U Patch Panel (Sliding) | [6 empty] | Panduit | FCE4U | Eanixter: 364415
Patch Panel | 2U Patch Panel (Sliding) | [6 empty] | Panduit | FCE2U | eanixter 351635
Patch Panel | 1U Patch Panel (Sliding) | [6 empty] | Panduit | FCE1U | eanixter 351634
Patch Panel | Fusion Splicing tray | [6 empty] | Panduit | FOSMF | eanixter 351637
Patch Panel | 4U Fusion Splicing tray holder | [6 empty] | Panduit | FOSMH4U | eanixter 364009
Patch Panel | 12 Pair LC Duplex SMF Bulkhead |  |  | 12 |  |  |  | Fiberstore | FHD-FAP12LCDXSMF | https://www.fs.com/products/35488.html
Patch Panel | 12 Pair MTP Bulkhead |  |  | 4 |  |  |  | Fiberstore | FHD-FAP12MTPHA | https://www.fs.com/products/35510.html
Patch Panel | 12 Pair LC Duplex SMF to 3x MTP Bulkhead |  |  | 4 |  |  |  | Elpeus
Rack Parts | 2U Wire manager passthrough |  |  | 2 |  |  |  | chatsworth | 30530-719 | eanixter 271868
Rack Parts | 1U Wire manager passthrough |  |  | 2 |  |  |  | chatsworth | 30529-719 | eanixter 271867
Rack Parts | 1U Brushpanel |  |  | 2
Fiber cable | 1M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) | [6 empty] | Fiberstore | 41427 | https://www.fs.com/products/41427.html
Fiber cable | 2M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) | [6 empty] | Fiberstore | 34960 | https://www.fs.com/products/34960.html
Fiber cable | 3M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) | [6 empty] | Fiberstore | 41426 | https://www.fs.com/products/41426.html
Fiber cable | 8M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, | [6 empty] | Fiberstore
Fiber cable | 10M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, | [6 empty] | Fiberstore | 68103 | https://www.fs.com/products/68103.html
Fiber cable | 12M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, | [6 empty] | Fiberstore
Fiber cable | 1M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, | [6 empty] | Fiberstore | 12MTPSMF | https://www.fs.com/products/68100.html
Fiber cable | 2M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, | [6 empty] | Fiberstore
Fiber cable | 3M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, | [6 empty] | Fiberstore | 68101 | https://www.fs.com/products/68101.html
Fiber cable | 2M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type B) (12 strand) SMF BI, | [6 empty] | Fiberstore | 69008 | https://www.fs.com/products/69008.html
Fiber cable | 3M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type B) (12 strand) SMF BI, | [6 empty] | Fiberstore | 68021 | https://www.fs.com/products/68021.html