## Active parts
Section | Type of part | Notes: | IDF (< 5 racks) | Server (< 5 racks) | small colo (< 10 racks) | big colo ~100 racks | Manuf. | Manuf. PN | Vendor1 | Vendor 1 PN | URL | unit price | date added | Vendor2 | Vendor 2 PN | URL | notes:
Storage | Bin | BLUE colored bin |  |  |  |  | Akro Mils |  | Grainger | 4HY35 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4HY35 | 25.8 |  |  |  |  | Stacks up to ~5 high. Lots of storage
Storage | bin | RED colored bin | 10 | 25 | 30 | 120 | Akro Mils |  | Grainger | 4hy36 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4HY36 | 25.8 |  |  |  |  | Stacks up to ~5 high. Lots of storage
Storage | bin | GRAY colored bin |  |  |  |  | Akro Mils |  | Grainger | 4tj74 | http://www.grainger.com/Grainger/AKROMILS-Stacking-Container-4TJ74 | 25.8 |  |  |  |  | Stacks up to ~5 high. Lots of storage
Storage | bin stacker | 60 small red bins |  | 1 | 1 | 2 | Akro Mils |  | Akro Mils | AWS183630318 | https://akro-mils.com/Products/Types/Cabinets-Racks-Shelving-Panels/Wire-Shelving/AWS183630318#
Tools | boxcutter | used to cut boxes | 2 | 2 | 4 | 4 | Stanley |  | Grainger | 10-499 | http://www.grainger.com/Grainger/STANLEY-Retractable-Knife-5C944 | 9.64
Tools | tape measure | tape measure | 1 | 1 | 2 | 2 | Stanley |  | Grainger | 30-456 | https://www.grainger.com/product/STANLEY-26-ft-Steel-SAE-Metric-Tape-5HK85 | 14.15 |  |  |  |  | Metric and imperial measurements (good for international)
Safety | earplugs | earplugs (200 Pair) | 1 | 1 | 2 | 2 | howard leight |  | Grainger | 5FV14 | http://www.grainger.com/Grainger/HOWARD-LEIGHT-BY-HONEYWELL-Ear-Plugs-5FV14 | 44.09 |  |  |  |  | AKA MAX 1 EARPLUGS
Tools | pliers | pliers | 1 | 1 | 2 | 2 | westward |  | Grainger | 1UKK1 | http://www.grainger.com/Grainger/WESTWARD-Long-Needle-Nose-Pliers-1UKK1 | 29.15
Tools | pliers | linesman pliers | 1 | 1 | 2 | 2 | westward |  | Grainger | 1UKJ7 | http://www.grainger.com/Grainger/WESTWARD-Linesman-Pliers-1UKJ7 | 13.42
Tools | mallet | Used for assembly | 1 | 1 | 2 | 2 | westward |  | Grainger | 5MX42 | http://www.grainger.com/Grainger/WESTWARD-Rubber-Mallet-Hammer-5MX42 | 17.01
Tools | wire cutters | Diagonal wire cutters | 1 | 1 | 2 | 2 | westward |  | Grainger | 1UKL2 | http://www.grainger.com/Grainger/WESTWARD-Diagonal-Cutter-Pliers-1UKL2 | 20.08
Tools | screwdrivers | screwdriver set | 1 | 1 | 2 | 2 | Stanley |  | grainger | 6C287 | https://www.grainger.com/product/STANLEY-Magnetized-Tip-Screwdriver-53JT27 | 102.87 | 2021-07-22
Tools | 3' stepladder | stepladder |  | 1 | 1 | 1 | Werner |  | grainger | 41D246 | http://www.grainger.com/Grainger/WERNER-Double-Sided-Stepladder-41D246 | 201.54
Tools | 7' ladder | Ladder for high work |  |  | 1 | 1 | Werner | 7407 | grainger | 3AZX5 | https://www.grainger.com/product/WERNER-7-ft-375-lb-Load-Capacity-3AZX5 | 261.45
Tools | drill bits | long #3 bits | 1 | 1 | 1 | 2 | Milwaukee |  | grainger | 3ECH3 | https://www.grainger.com/product/MILWAUKEE-Phillips-Impact-Power-Bit-33GN12 | 45.37 | 2021-07-22
Tools | Drill | 20v/ 110V Drill | 1 | 1 | 1 | 2 | Dewalt |  | grainger | 2AEU8 | https://www.grainger.com/product/DEWALT-Drill-52HM43 | 199.68 | 2021-07-22 |  |  |  | CHARGER IS 120V!
Tools | drill bits | drill screw bits | 1 | 1 | 1 | 2 | Dewalt |  | grainger | 4WM46 | http://www.grainger.com/Grainger/DEWALT-Screwdriver-Set-4WM46 | 43.21 | 2021-07-22
Tools | Drill adapter | 200W 110V Adapter |  | 1 | 1 | 1 | Bestek |  | Amazon | B01M3MXMA3 | https://www.amazon.com/BESTEK-Universal-100-220V-Converter-Worldwide/dp/B07R2JMHQR | 39.99 | 2021-07-22 |  |  |  | To leave the drill on charge (at 208/220V)
Tools | Drill adapter | C14 to C5 adapter |  | 1 | 2 | 2 |  |  | Quail | 3506.072 | https://www.quail.com/product.htm?pid=258588 | 5.83 |  |  |  |  | plug this into the 110V adapter
Tools | Cart | portable cart |  | 1 | 2 | 4 | Rubbermaid |  | grainger | 4YX44 | http://www.grainger.com/Grainger/RUBBERMAID-Utility-Cart-4YX44 | 455.4
Garbage | trash can | 44Gallon (large) |  | 1 | 1 | 2 | Rubbermaid |  | grainger | 5DMU5 | https://www.grainger.com/product/RUBBERMAID-COMMERCIAL-PRODUCTS-44-gal-Round-Trash-Can-2FTH5 | 81.3 | 2021-07-22
Garbage | trash can wheels | wheels for can |  | 1 | 1 | 2 | Rubbermaid |  | grainger | 5W007 | http://www.grainger.com/Grainger/RUBBERMAID-5Wheel-Dolly-5W007 | 72.93
Safety | equipment lift | lift up to 6' 8" high |  | 1 | 1 | 1 | Dayton |  | grainger | 2MPT7 | http://www.grainger.com/Grainger/DAYTON-Hydraulic-Platform-Lift-2MPT7 | 1678.92 |  | Serverlift |  |  | MPT7 is better IF you have the clearance
Safety | equipment lift | lift up to 5' 8" high |  |  |  |  | Dayton |  | grainger | 2MPT6 | http://www.grainger.com/Grainger/DAYTON-Hydraulic-Platform-Lift-2MPT6 | 1525.92 |  | Serverlift
Storage | Bin cabinet | for small parts |  | 1 | 1 | 1 | durham |  | grainger | 3NYL9 | http://www.grainger.com/Grainger/DURHAM-Bin-Cabinet-3NYL9 | 1938.72 |  |  |  |  | Great for storing optics
Storage | cabinet | see-through cabinet |  | 1 | 1 | 2 | hallowell |  | grainger | 34C214 | http://www.grainger.com/Grainger/HALLOWELL-Storage-Cabinet-34C214 | 965.21 |  |  |  |  | good general purpose storage
Safety | back support | back support (L) | 1 | 2 | 2 | 4 | condor |  | grainger | 1EC64 | http://www.grainger.com/Grainger/CONDOR-Back-Support-with-Stay-1EC64 | 19.46
Tools | folding table | Table |  | 1 | 1 | 2 |  |  | Grainger | 4GE26 | http://www.grainger.com/Grainger/Folding-Table-4GE26 | 112.24
Tools | folding chair | chair | 1 | 2 | 2 | 4 |  |  | Grainger | 2W158 | http://www.grainger.com/Grainger/Folding-Chair-2W158 | 49.47
Serial parts | RJ45 - DB9 | for serial | 5 | 10 | 10 | 10 | Legrand | 21109DA8MKIT | Anixter | 130287 | https://www.anixter.com/en_uk/product-detail.21109DA8MKIT-ORTRONICS.PS-Copper%2BAdapters.130287.html | [5 empty] | for DB9 to RJ45 serial.
Serial parts | RJ45 - DB9 | for serial | 5 | 10 | 10 | 10 | Legrand | 21109DA8FKIT | Anixter | 130288 | https://www.anixter.com/en_us/products/21109DA8FKIT/ORTRONICS/Copper-Adapters/p/130288 | [5 empty] | for DB9 to RJ45 serial.
Labeller | labeller | Labeller | 1 | 2 | 2 | 2 | Brother | PT-E550W | CDW | PT-E550W | https://www.cdw.com/shop/products/Brother-PT-E550W-Monochrome-Thermal-Label-Printer/3341744.aspx | [5 empty] | My labeller of choice - works with MAC, 1/2 cut, full cut, chain print etc.
Labeller | labeller | 1/2" Label tape | 5 | 10 | 10 | 10 | Brother | TZES231 | CDW | TZES231 | http://www.cdw.com/shop/products/Brother-TZe-S231-laminated-extra-strength-adhesive-tape-1-rolls/2312526.aspx
Labeller | labeller | 1" Label tape | 5 | 10 | 10 | 10 | Brother | tzes251 | CDW | tzes251 | http://www.cdw.com/shop/products/Brother-TZe-S251-laminated-extra-strength-adhesive-tape-1-rolls/2312536.aspx
Tools | velcro | 10 - 35' velcro | 1 | 2 | 2 | 3 | Panduit | TTS-35rx0 | Grainger | TTS-35rx0 | https://www.grainger.com/product/PANDUIT-Hook-and-Loop-Cable-Tie-Roll-2CNH1 | 331.2 |  | CDW |  | http://www.cdw.com/shop/products/Tak-Tape-cable-tie/695151.aspx | highly flexible!
Serial parts | Serial | Console adapter | 10 | 40 | 40 | 40 | Avocent |  | cdw | ADB0039 | http://www.cdw.com/shop/products/Cyclades-crossover-adapter/995263.aspx
Fiber parts | fiber cleaner | cletop - SC Duplex Cleaner | 1 | 1 | 1 | 2 | Cletop | 716X082 | Specialized |  | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/cletop-cassettes/afl-cletop-s-8500-10-0020mz-type-a-fiber-connector-cleaner-blue.html | 85 | 2021-07-22 |  |  |  | clean fiber on every insertion
Fiber parts | fiber cleaner | cletop - LC Duplex Cleaner | 1 | 1 | 1 | 2 | Cletop | 716X084 | Specialized |  | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/cletop-cassettes/afl-cletop-s-8500-10-0029mz-type-b-fiber-connector-cleaner-blue.html | 85 | 2021-07-22 |  |  |  | clean fiber on every insertion
Fiber parts | fiber cleaner | AFL Optipop MPO - Cleaner. | 1 | 1 | 1 | 2 | AFL | 812X790 | Specialized |  | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/8500-11-0052mz-afl-optipop-r3-fiber-connector-cleaner-mtp-mpo.html | 80 | 2021-07-22 |  |  |  | clean fiber on every insertion
Fiber parts | fiber cleaner | USConec SC Single End panel Cleaner | 1 | 1 | 1 | 2 | US Conec | 9392 | Specialized | 846X900 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/9392-us-conec-2-5mm-ibc-brand-cleaning-tool-sc-fc-st-upc-apc.html | 50.87 |  |  |  |  | clean fiber on every insertion
Fiber parts | fiber cleaner | Usconec LC Dual End Panel Cleaner | 1 | 1 | 1 | 2 | US Conec | 14303 | Specialized | 846X242 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/14303-us-conec-ibc-brand-cleaner-lc2-dual-lc-end-face-cleaner.html | 88.5 |  |  |  |  | clean fiber on every insertion
Fiber parts | fiber cleaner | USConec MTP End panel cleaner | 1 | 1 | 1 | 1 | US Conec | 15546 | Specialized | 846X260 | https://www.specialized.net/fiber-optic/cleaning-products/one-click-ibc-cleaners/us-conec-15546-ibc-brand-mt-based-ferrule-cleaner-mt38ii-m38999.html | 87 |  |  |  |  | clean fiber on every insertion
Fiber parts | Fiber tester | 5KM Visual Fault Locator | 1 | 1 | 1 | 1 |  |  | Fiberstore | 35388 | https://www.fs.com/products/35388.html
Fiber parts | Fiber tester | Light Meter | 1 | 1 | 1 | 1 |  |  | Fiberstore | 97490 | https://www.fs.com/products/97490.html | 129
Fiber parts | Fiber tester | Light Source | 1 | 1 | 1 | 1 |  |  | Fiberstore | 97568 | https://www.fs.com/products/97568.html | 149
Fiber parts | Fiber tester | Fiber Magnifier | 1 | 1 | 1 | 1 |  |  | Fiberstore | 14126 | https://www.fs.com/products/14126.html | 119
Fiber parts | Fiber tester | SC to LC Adapter | 3 | 3 | 3 | 3 |  |  | Fiberstore | AD-FVFL | https://www.fs.com/products/82730.html | 11 | 2021-07-22
Fiber parts | fiber attenuator | 3dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 70008 | https://www.fs.com/products/70008.html | 32 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-LCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DFYS
Fiber parts | fiber attenuator | 5dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 70009 | https://www.fs.com/products/70009.html | 32 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-LCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG1K
Fiber parts | fiber attenuator | 7dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 72630 | https://www.fs.com/products/72630.html | 32 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-LCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DG0Q
Fiber parts | fiber attenuator | 3dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 76146 | https://www.fs.com/products/76146.html | 45 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-SCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DG8
Fiber parts | fiber attenuator | 5dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 76147 | https://www.fs.com/products/76147.html | 45 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-SCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG60
Fiber parts | fiber attenuator | 10dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 76148 | https://www.fs.com/products/76148.html | 45 | 2021-07-22 |  |  | http://www.amazon.com/Lynn-Electronics-SCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DGJW
power cables | power cables | C20- Nema 5-15P 1' |  |  | 3 | 5 |  |  | Quail | 5283.012 | https://www.quail.com/product.htm?pid=259937&cat=20794
power cables | power cables | C14- Nema 5-15P 1' |  |  | 3 | 5 |  |  | Quail | 5250.012 | https://www.quail.com/product.htm?pid=259706&cat=20945
power cables | power cables | C14- Nema 5-15P 3" |  |  | 3 | 5 |  |  | Datacentergear | PWRC14515R | https://www.amazon.com/Toptekits-Adapter-5-15r-Converter-adaptor/dp/B002OFR6R4
power cables | power cables | C13-C14 6 ft - BLK 14 AWG |  |  | 5 | 20 |  |  | Quail | 6260.072 | https://www.quail.com/searchm.htm?type=merged&searcht=6260.072
power cables | power cables | C19-C20 6 ft - BLK 14 AWG |  |  | 5 | 20 |  |  | Quail | 3517.072 | https://www.quail.com/searchm.htm?type=merged&searcht=3517
power cables | power cables | C13-C14 6 ft - RED 14 AWG |  |  | 5 | 20 |  |  | Quail | 6260.072R | https://www.quail.com/product.htm?pid=260538&cat=20943
power cables | power cables | C19-C20 6 ft - RED 14 AWG |  |  | 5 | 20 |  |  | Quail | 3517.072R | https://www.quail.com/searchm.htm?type=merged&searcht=3517
power cables | power cables | C13-C14 3 ft - BLK 14 AWG |  |  | 5 | 20 |  |  | Quail | 6260.039 | https://www.quail.com/searchm.htm?type=merged&searcht=6260.039
power cables | power cables | C19-C20 3 ft - BLK 14 AWG |  |  | 5 | 20 |  |  | Quail | 3517.039 | https://www.quail.com/searchm.htm?type=merged&searcht=3517
power cables | power cables | C13-C14 3 ft - RED 14 AWG |  |  | 5 | 20 |  |  | Quail | 6260.039R | https://www.quail.com/searchm.htm?type=merged&searcht=6260.039
power cables | power cables | C19-C20 3 ft - RED |  |  | 5 | 20 |  |  | Quail | 3517.039R | https://www.quail.com/searchm.htm?type=merged&searcht=3517.039r
power cables | power cables | C21-C20 6 ft - Blk |  |  | 3 | 20 |  |  | stayonline | PFC2012C2172 | https://www.stayonline.com/power-cords/c20-to-c21-power-cords-5176.asp
power cables | power cables | C21-C20 6 ft - RED |  |  | 3 | 20 |  |  | stayonline | PFC2012C2172R | https://www.stayonline.com/power-cords/c20-to-c21-power-cords-1512.asp
Power cables | Power cables | C19 Sleeve |  |  | 100 | 200 |  |  | stayonline | C19SecureSleeveTabBlack | https://www.stayonline.com/power-cords/iec-320-female-over-mold-inserts-8436.asp
Power cables | Power cables | C13 Sleeve |  |  | 100 | 200 |  |  | stayonline | C13SecureSleeveTabBlack | https://www.stayonline.com/power-cords/iec-320-female-over-mold-inserts-6164.asp
Fiber cable | Fiber cable | 1M - LC-LC SMF Duplex UPC BI |  |  | 10 | 100 |  |  | Fiberstore | 40191 | https://www.fs.com/products/40191.html | 4.3 | 2021-07-22
Fiber cable | Fiber cable | 2M - LC-LC SMF Duplex UPC BI |  |  | 10 | 100 |  |  | Fiberstore | 40192 | https://www.fs.com/products/40192.html | 4.7 | 2021-07-22
Fiber cable | Fiber cable | 3M - LC-LC SMF Duplex UPC BI |  |  | 10 | 100 |  |  | Fiberstore | 40193 | https://www.fs.com/products/40193.html | 4.9 | 2021-07-22
Fiber cable | Fiber cable | 5M - LC-LC SMF Duplex UPC BI |  |  | 10 | 50 |  |  | Fiberstore | 40200 | https://www.fs.com/products/40200.html | 5.7 | 2021-07-22
Fiber cable | Fiber cable | 10M - LC-LC SMF Duplex UPC BI |  |  | 5 | 20 |  |  | Fiberstore | 40203 | https://www.fs.com/products/40203.html | 6.9 | 2021-07-22
Fiber cable | Fiber cable | 15M - LC-LC SMF Duplex UPC BI |  |  | 5 | 20 |  |  | Fiberstore | 40204 | https://www.fs.com/products/40204.html | 8.6 | 2021-07-22
Fiber cable | Fiber cable | 1M - SC-LC SMF Duplex UPC BI |  |  | 5 | 20 |  |  | Fiberstore | 40214 | https://www.fs.com/products/40214.html | 4.8
Fiber cable | Fiber cable | 2M - SC-LC SMF Duplex UPC BI |  |  | 5 | 20 |  |  | Fiberstore | 40221 | https://www.fs.com/products/40221.htm | 4.9
Fiber cable | Fiber cable | 3M - SC-LC SMF Duplex UPC BI |  |  | 5 | 20 |  |  | Fiberstore | 40222 | https://www.fs.com/products/40222.html | 5.2
Fiber cable | Fiber cable | 5M - SC-LC SMF Duplex UPC BI |  |  | 5 | 10 |  |  | Fiberstore | 40224 | https://www.fs.com/products/40224.html | 5.7
Fiber cable | Fiber cable | 10M - SC-LC SMF Duplex UPC BI |  |  | 2 | 5 |  |  | Fiberstore | 40227 | https://www.fs.com/products/40227.html | 6.9
Fiber cable | Fiber cable | 15M - SC-LC SMF Duplex UPC BI |  |  | 2 | 5 |  |  | Fiberstore | SM-LCU-SCU-DX-FS-15M-PVC | https://www.fs.com/products/40228.htm
Fiber cable | Fiber cable | 1M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-1M-PVC | https://www.fs.com/products/40234.html | 4.8
Fiber cable | Fiber cable | 2M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-2M-PVC | https://www.fs.com/products/40235.html | 4.9
Fiber cable | Fiber cable | 3M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-3M-PVC | https://www.fs.com/products/40237.html | 5.2
Fiber cable | Fiber cable | 5M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-5M-PVC | https://www.fs.com/products/40250.html | 5.7
Fiber cable | Fiber cable | 10M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-10M-PVC | https://www.fs.com/products/40255.html | 6.9
Fiber cable | Fiber cable | 15M - SC-SC SMF Duplex UPC BI | [6 empty] | Fiberstore | SM-SCU-SCU-DX-FS-15M-PVC | https://www.fs.com/products/40260.html | 7.9
Copper Cable | Copper Cable | 3 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP3BU | Anixter | MM03-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP3BU/PANDUIT/Copper-Cable-Assemblies/p/MM03-PA7SD-06 | 13.11
Copper Cable | Copper Cable | 4 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP4BU | Anixter | MM04-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP4BU/PANDUIT/Copper-Cable-Assemblies/p/MM04-PA7SD-06 | 13.65
Copper Cable | Copper Cable | 5 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP5BU | Anixter | MM05-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP5BU/PANDUIT/Copper-Cable-Assemblies/p/MM05-PA7SD-06 | 14.23
Copper Cable | Copper Cable | 6 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP6BU | Anixter | MM06-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP6BU/PANDUIT/Copper-Cable-Assemblies/p/MM06-PA7SD-06 | 14.79
Copper Cable | Copper Cable | 7 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP7BU | Anixter | MM07-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP7BU/PANDUIT/Copper-Cable-Assemblies/p/MM07-PA7SD-06 | 15.34
Copper Cable | Copper Cable | 8 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP8BU | Anixter | MM08-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP8BU/PANDUIT/Copper-Cable-Assemblies/p/MM08-PA7SD-06 | 15.9
Copper Cable | Copper Cable | 9 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP9BU | Anixter | MM09-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP9BU/PANDUIT/Copper-Cable-Assemblies/p/MM09-PA7SD-06 | 16.48
Copper Cable | Copper Cable | 10 ft blue 28awg <3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP10BU | Anixter | MM10-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP10BU/PANDUIT/Copper-Cable-Assemblies/p/MM10-PA7SD-06 | 17.03
Copper Cable | Copper Cable | 14 ft blue 28awg <3.8mm OD |  |  | 10 | 10 | panduit | UTP28SP14BU | Anixter | MM14-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP14BU/PANDUIT/Copper-Cable-Assemblies/p/MM14-PA7SD-06 | 19.28
Copper Cable | Copper Cable | 18 ft blue 28awg <3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP18BU | Anixter | MM18-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP18BU/PANDUIT/Copper-Cable-Assemblies/p/MM18-PA7SD-06 | 21.53
Copper Cable | Copper Cable | 20 ft blue 28awg <3.8mm OD |  |  |  | 10 | panduit | UTP28SP20BU | Anixter | MM20-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP20BU/PANDUIT/Copper-Cable-Assemblies/p/MM20-PA7SD-06 | 22.64
Copper Cable | Copper Cable | 25 ft blue 28awg <3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP25BU | Anixter | MM25-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP25BU/PANDUIT/Copper-Cable-Assemblies/p/MM25-PA7SD-06 | 25.47
Copper Cable | Copper Cable | 30 ft blue 28awg <3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP30BU | Anixter | MM30-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP30BU/PANDUIT/Copper-Cable-Assemblies/p/MM30-PA7SD-06 | 28.25
Copper Cable | Copper Cable | 40 ft blue 28awg <3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP40BU | Anixter | MM40-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP40BU/PANDUIT/Copper-Cable-Assemblies/p/MM40-PA7SD-06 | 33.8
Copper Cable | Copper Cable | 50 ft blue 28awg <3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP50BU | Anixter | MM50-PA7SD-06 | https://www.anixter.com/en_us/products/UTP28SP50BU/PANDUIT/Copper-Cable-Assemblies/p/MM50-PA7SD-06 | 39.48
Copper Cable | Copper Cable | 3 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP3RD | Anixter | MM03-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP3RD/PANDUIT/Copper-Cable-Assemblies/p/MM03-PA7SD-03 | 13.11
Copper Cable | Copper Cable | 4 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP4RD | Anixter | MM04-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP4RD/PANDUIT/Copper-Cable-Assemblies/p/MM04-PA7SD-03 | 13.65
Copper Cable | Copper Cable | 5 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP5RD | Anixter | MM05-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP5RD/PANDUIT/Copper-Cable-Assemblies/p/MM05-PA7SD-03 | 14.23
Copper Cable | Copper Cable | 6 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP6RD | Anixter | MM06-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP6RD/PANDUIT/Copper-Cable-Assemblies/p/MM06-PA7SD-03 | 14.79
Copper Cable | Copper Cable | 7 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP7RD | Anixter | MM07-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP7RD/PANDUIT/Copper-Cable-Assemblies/p/MM07-PA7SD-03 | 15.34
Copper Cable | Copper Cable | 8 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP8RD | Anixter | MM08-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP8RD/PANDUIT/Copper-Cable-Assemblies/p/MM08-PA7SD-03 | 15.9
Copper Cable | Copper Cable | 9 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP9RD | Anixter | MM09-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP9RD/PANDUIT/Copper-Cable-Assemblies/p/MM09-PA7SD-03 | 16.48
Copper Cable | Copper Cable | 10 ft red 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP10RD | Anixter | MM10-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP10RD/PANDUIT/Copper-Cable-Assemblies/p/MM10-PA7SD-03 | 17.03
Copper Cable | Copper Cable | 14 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP14RD | Anixter | MM14-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP14RD/PANDUIT/Copper-Cable-Assemblies/p/MM14-PA7SD-03 | 19.28
Copper Cable | Copper Cable | 18 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP18RD | Anixter | MM18-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP18RD/PANDUIT/Copper-Cable-Assemblies/p/MM18-PA7SD-03 | 21.53
Copper Cable | Copper Cable | 20 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP20RD | Anixter | MM20-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP20RD/PANDUIT/Copper-Cable-Assemblies/p/MM20-PA7SD-03 | 22.64
Copper Cable | Copper Cable | 25 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP25RD | Anixter | MM25-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP25RD/PANDUIT/Copper-Cable-Assemblies/p/MM25-PA7SD-03 | 25.47
Copper Cable | Copper Cable | 30 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP30RD | Anixter | MM30-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP30RD/PANDUIT/Copper-Cable-Assemblies/p/MM30-PA7SD-03 | 28.25
Copper Cable | Copper Cable | 40 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP40RD | Anixter | MM40-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP40RD/PANDUIT/Copper-Cable-Assemblies/p/MM40-PA7SD-03 | 33.8
Copper Cable | Copper Cable | 50 ft red 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP50RD | Anixter | MM50-PA7SD-03 | https://www.anixter.com/en_us/products/UTP28SP50RD/PANDUIT/Copper-Cable-Assemblies/p/MM50-PA7SD-03 | 39.48
Copper Cable | Copper Cable | 3 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP3BL | Anixter | MM03-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP3BL/PANDUIT/Copper-Cable-Assemblies/p/MM03-PA7SD-02 | 13.11
Copper Cable | Copper Cable | 4 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP4BL | Anixter | MM04-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP4BL/PANDUIT/Copper-Cable-Assemblies/p/MM04-PA7SD-02 | 13.65
Copper Cable | Copper Cable | 5 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP5BL | Anixter | MM05-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP5BL/PANDUIT/Copper-Cable-Assemblies/p/MM05-PA7SD-02 | 14.23
Copper Cable | Copper Cable | 6 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP6BL | Anixter | MM06-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP6BL/PANDUIT/Copper-Cable-Assemblies/p/MM06-PA7SD-02 | 14.79
Copper Cable | Copper Cable | 7 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP7BL | Anixter | MM07-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP7BL/PANDUIT/Copper-Cable-Assemblies/p/MM07-PA7SD-02 | 15.34
Copper Cable | Copper Cable | 8 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP8BL | Anixter | MM08-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP8BL/PANDUIT/Copper-Cable-Assemblies/p/MM08-PA7SD-02 | 15.9
Copper Cable | Copper Cable | 9 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP9BL | Anixter | MM09-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP9BL/PANDUIT/Copper-Cable-Assemblies/p/MM09-PA7SD-02 | 16.48
Copper Cable | Copper Cable | 10 ft black 28awg < 3.8mm OD |  |  |  | 20 | panduit | UTP28SP10BL | Anixter | MM10-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP10BL/PANDUIT/Copper-Cable-Assemblies/p/MM10-PA7SD-02 | 17.03
Copper Cable | Copper Cable | 14 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP14BL | Anixter | MM14-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP14BL/PANDUIT/Copper-Cable-Assemblies/p/MM14-PA7SD-02 | 19.28
Copper Cable | Copper Cable | 18 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP18BL | Anixter | MM18-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP18BL/PANDUIT/Copper-Cable-Assemblies/p/MM18-PA7SD-02 | 21.53
Copper Cable | Copper Cable | 20 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP20BL | Anixter | MM20-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP20BL/PANDUIT/Copper-Cable-Assemblies/p/MM20-PA7SD-02 | 22.64
Copper Cable | Copper Cable | 25 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP25BL | Anixter | MM25-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP25BL/PANDUIT/Copper-Cable-Assemblies/p/MM25-PA7SD-02 | 25.47
Copper Cable | Copper Cable | 30 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP30BL | Anixter | MM30-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP30BL/PANDUIT/Copper-Cable-Assemblies/p/MM30-PA7SD-02 | 28.25
Copper Cable | Copper Cable | 40 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP40BL | Anixter | MM40-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP40BL/PANDUIT/Copper-Cable-Assemblies/p/MM40-PA7SD-02 | 33.8
Copper Cable | Copper Cable | 50 ft black 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP50BL | Anixter | MM50-PA7SD-02 | https://www.anixter.com/en_us/products/UTP28SP50BL/PANDUIT/Copper-Cable-Assemblies/p/MM50-PA7SD-02 | 39.48
Copper Cable | Copper Cable | 3 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP3YL | Anixter | MM03-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP3YL/PANDUIT/Copper-Cable-Assemblies/p/MM03-PA7SD-05 | 13.11
Copper Cable | Copper Cable | 4 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP4YL | Anixter | MM04-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP4YL/PANDUIT/Copper-Cable-Assemblies/p/MM04-PA7SD-05 | 13.65
Copper Cable | Copper Cable | 5 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP5YL | Anixter | MM05-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP5YL/PANDUIT/Copper-Cable-Assemblies/p/MM05-PA7SD-05 | 14.23
Copper Cable | Copper Cable | 6 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP6YL | Anixter | MM06-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP6YL/PANDUIT/Copper-Cable-Assemblies/p/MM06-PA7SD-05 | 14.79
Copper Cable | Copper Cable | 7 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP7YL | Anixter | MM07-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP7YL/PANDUIT/Copper-Cable-Assemblies/p/MM07-PA7SD-05 | 15.34
Copper Cable | Copper Cable | 8 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP8YL | Anixter | MM08-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP8YL/PANDUIT/Copper-Cable-Assemblies/p/MM08-PA7SD-05 | 15.9
Copper Cable | Copper Cable | 9 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP9YL | Anixter | MM09-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP9YL/PANDUIT/Copper-Cable-Assemblies/p/MM09-PA7SD-05 | 16.48
Copper Cable | Copper Cable | 10 ft yellow 28awg < 3.8mm OD |  |  | 10 | 20 | panduit | UTP28SP10YL | Anixter | MM10-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP10YL/PANDUIT/Copper-Cable-Assemblies/p/MM10-PA7SD-05 | 17.03
Copper Cable | Copper Cable | 14 ft yellow 28awg < 3.8mm OD |  |  | 10 | 10 | panduit | UTP28SP14YL | Anixter | MM14-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP14YL/PANDUIT/Copper-Cable-Assemblies/p/MM14-PA7SD-05 | 19.28
Copper Cable | Copper Cable | 18 ft yellow 28awg < 3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP18YL | Anixter | MM18-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP18YL/PANDUIT/Copper-Cable-Assemblies/p/MM18-PA7SD-05 | 21.53
Copper Cable | Copper Cable | 20 ft yellow 28awg < 3.8mm OD |  |  |  | 10 | panduit | UTP28SP20YL | Anixter | MM20-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP20YL/PANDUIT/Copper-Cable-Assemblies/p/MM20-PA7SD-05 | 22.64
Copper Cable | Copper Cable | 25 ft yellow 28awg < 3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP25YL | Anixter | MM25-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP25YL/PANDUIT/Copper-Cable-Assemblies/p/MM25-PA7SD-05 | 25.47
Copper Cable | Copper Cable | 30 ft yellow 28awg < 3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP30YL | Anixter | MM30-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP30YL/PANDUIT/Copper-Cable-Assemblies/p/MM30-PA7SD-05 | 28.25
Copper Cable | Copper Cable | 40 ft yellow 28awg < 3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP40YL | Anixter | MM40-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP40YL/PANDUIT/Copper-Cable-Assemblies/p/MM40-PA7SD-05 | 33.8
Copper Cable | Copper Cable | 50 ft yellow 28awg < 3.8mm OD |  |  | 5 | 10 | panduit | UTP28SP50YL | Anixter | MM50-PA7SD-05 | https://www.anixter.com/en_us/products/UTP28SP50YL/PANDUIT/Copper-Cable-Assemblies/p/MM50-PA7SD-05 | 39.48
Fiber cable | Fiber cable | 1M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DXBI-FS-1M-PVC | https://www.fs.com/products/40180.html | 4.3
Fiber cable | Fiber cable | 2M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DX-FS-2M-PVC | https://www.fs.com/products/40220.html | 5.4
Fiber cable | Fiber cable | 3M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DX-FS-3M-PVC | https://www.fs.com/products/40233.html | 6.5
Fiber cable | Fiber cable | 5M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DX-FS-5M-PVC | https://www.fs.com/products/40236.html | 8.7
Fiber cable | Fiber cable | 10M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DX-FS-10M-PVC | https://www.fs.com/products/40251.html | 14
Fiber cable | Fiber cable | 15M - LC-LC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-LC-LC-DX-FS-15M-PVC | https://www.fs.com/products/40254.html | 19
Fiber cable | Fiber cable | 1M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-1M-PVC | https://www.fs.com/products/40271.html | 5.1
Fiber cable | Fiber cable | 2M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-2M-PVC | https://www.fs.com/products/40272.html | 6.1
Fiber cable | Fiber cable | 3M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-3M-PVC | https://www.fs.com/products/40275.html | 7.2
Fiber cable | Fiber cable | 5M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-5M-PVC | https://www.fs.com/products/40277.html | 9.2
Fiber cable | Fiber cable | 10M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-10M-PVC | https://www.fs.com/products/40280.html | 15
Fiber cable | Fiber cable | 15M - SC-LC mm - OM4 UPC Duplex | [6 empty] | Fiberstore | OM4-LC-SC-DX-FS-15M-PVC | https://www.fs.com/products/40281.html | 19
Optical Transceiver | Optical Transceiver | Transceiver programmer |  |  | 1 | 1 |  |  | flexoptix | FO.FB.V4A | https://www.flexoptix.net/en/flexbox-series-configure-universal-transceivers.html?395=1356&co8534= | 2000
Optical Transceiver | Optical Transceiver | 1G OTDR Optic |  |  | 1 | 1 |  |  | flexoptix | S.OB1612.40.OD-MSA01 | https://www.flexoptix.net/en/microotdr-sfp-cwdm-singlefiber-transceiver-1-gigabit-sm-1270-1610nm-40km-21db-ddm-dom-sc.html?178=1026&co8527=76715 | 931
Optical Transceiver | Optical Transceiver | 10G LR SFP+ Optic MSA Compatible |  |  | 20 | 20 |  |  | flexoptix | P.1396.10 | https://www.flexoptix.net/en/transceiver/sfp-plus-lr-transceiver-10-gigabit-stm64-sm-1310nm-10km-8db-ddm-dom.html?co3111=18433 | 51.3
Optical Transceiver | Optical Transceiver | 10G SR SFP+ Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | P.8596.02 | https://www.flexoptix.net/en/transceiver/sfp-plus-sr-transceiver-10-gigabit-stm64-mm-850nm-300m-5db-ddm-dom.html?co3089=18291 | 34.2
Optical Transceiver | Optical Transceiver | 10G ER SFP+ Optic MSA Compatible |  |  | TBD | TBD |  |  | flexoptix | P.1596.40 | https://www.flexoptix.net/en/transceiver/sfp-plus-er-transceiver-10-gigabit-stm64-sm-1550nm-40km-14db-ddm-dom.html?co3077=18221 | 239.4
Optical Transceiver | Optical Transceiver | 10G ZR SFP+ Optic MSA Compatible |  |  | TBD | TBD |  |  | flexoptix | P.1596.80 | https://www.flexoptix.net/en/transceiver/sfp-plus-zr-transceiver-10-gigabit-stm64-sm-1550nm-80km-23db-ddm-dom.html?co3073=18207 | 478.8
Optical Transceiver | Optical Transceiver | 1G SX SFP Optic MSA Compatible |  |  | 0 | 5 |  |  | flexoptix | S.8512.02.D | https://www.flexoptix.net/en/sfp-sx-transceiver-1-gigabit-mm-850nm-550m-7db-ddm-dom.html?co3066=18152 | 23.94
Optical Transceiver | Optical Transceiver | 1G LX SFP Optic MSA Compatible |  |  | 0 | 5 |  |  | flexoptix | S.1312.10.D | https://www.flexoptix.net/en/sfp-lx-transceiver-1-gigabit-sm-1310nm-10km-12db-ddm-dom.html?co3059=18091 | 23.94
Optical Transceiver | Optical Transceiver | 40G QSFP LR4 Optic MSA Compatible |  |  | 0 |  |  |  | flexoptix | Q.1640G.10 | https://www.flexoptix.net/en/transceiver/qsfp-plus-lr4-transceiver-40-gigabit-sm-4-waves-1270-1330nm-10km-4db-ddm-dom.html?co7466=46469 | 495.9
Optical Transceiver | Optical Transceiver | QSFP PLR Optic MSA Compatible (4x10G) |  |  | 0 | 20 |  |  | flexoptix | Q.1340G.10 | https://www.flexoptix.net/en/transceiver/qsfp-plus-parallel-lr4-transceiver-40-gigabit-sm-1310nm-10km-7db-ddm-dom.html?co7844=46473 | 581.4
Optical Transceiver | Optical Transceiver | QSFP28 LR Optic MSA Compatible (100G) |  |  | 5 | 20 |  |  | flexoptix | Q.161HG.10 | https://www.flexoptix.net/en/transceiver/qsfp28-lr4-transceiver-100-gigabit-sm-4-waves-1295-1310nm-10km-4db-ddm-dom.html?co8501=76634 | 756
DAC CABLE | DAC CABLE | 2M QSFP28 (100G) -4xSFP28 (25G) - DAC |  |  | 5 | 20 |  |  | flexoptix | QP.C301HG.2 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-4-x-sfp28-dac-breakout-cable-passive.html?300=1123&co8798=84475 | 304 |  | Molex | 100345-1202 | https://www.molex.com/molex/products/datasheet.jsp?part=active/1003451202_CABLE_ASSEMBLIES.xml
DAC CABLE | DAC CABLE | 3M QSFP28 (100G) -4xSFP28 (25G) - DAC |  |  | 5 | 20 |  |  | flexoptix | QP.C301HG.3 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-4-x-sfp28-dac-breakout-cable-passive.html?300=1124&co11007=103960 | 342 |  | Molex | 1003451302 | https://www.molex.com/molex/products/datasheet.jsp?part=active/1003451302_CABLE_ASSEMBLIES.xml
DAC CABLE | DAC CABLE | 2M QSFP (40G) -4xSFP (10G) - DAC | [6 empty] | flexoptix | QP.C30.2 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-to-4-x-sfp-breakout-copper-cable-dac.html?300=1123&co9128=87511 | 109.44
DAC CABLE | DAC CABLE | 3M QSFP (40G) -4xSFP (10G) - DAC | [6 empty] | flexoptix | QP.C30.3 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-to-4-x-sfp-breakout-copper-cable-dac.html?300=1124&co7639=45019 | 116.28
DAC CABLE | DAC CABLE | 0.5M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 0 |  |  |  | flexoptix | Q.C301HG.H | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-qsfp28-dac-cable-passive.html?300=1108&co9410=90292 | 143.64
DAC CABLE | DAC CABLE | 1M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 5 | 10 |  |  | flexoptix | Q.C301HG.1 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-qsfp28-dac-cable-passive.html?300=1121&co8850=85637 | 143.64
DAC CABLE | DAC CABLE | 2M QSFP28 (100G) - QSFP28 (100G) - DAC |  |  | 5 | 10 |  |  | flexoptix | Q.C301HG.2 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-qsfp28-to-qsfp28-dac-cable-passive.html?300=1121&co8850=85637 | 171
DAC CABLE | DAC CABLE | 0.5M QSFP (40G) - QSFP (40G) - DAC |  |  | 0 |  |  |  | flexoptix | Q.C30.H | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-copper-cable-dac-for-40gigabit.html?300=1108&co7648=48637 | 92.34
DAC CABLE | DAC CABLE | 1M QSFP (40G) - QSFP (40G) - DAC |  |  | 0 |  |  |  | flexoptix | Q.C30.1 | https://www.flexoptix.net/en/universal-dac-aoc/passive-qsfp-copper-cable-dac-for-40gigabit.html?300=1121&co7634=48636 | 102.6
DAC CABLE | DAC CABLE | 0.5M SFP (10G) - SFP (10G) - DAC |  |  | 5 |  |  |  | flexoptix | P.C30.H | https://www.flexoptix.net/en/universal-dac-aoc/passive-sfp-copper-cable-dac-for-10gigabit.html?300=1108&co8322=53622 | 38
DAC CABLE | DAC CABLE | 1M SFP (10G) - SFP (10G) - DAC |  |  | 5 | 10 |  |  | flexoptix | P.C30.1 | https://www.flexoptix.net/en/universal-dac-aoc/passive-sfp-copper-cable-dac-for-10gigabit.html?300=1121&co3122=18501 | 34.2
AOC Cable | AOC Cable | 10M QSFP28 (100G) - QSFP28 (100G) - AOC |  |  | 5 | 5 |  |  | flexoptix | Q.A851HG.10 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-aoc-qsfp-transceiver-mm-850nm.html?300=1131&co8504=76640 | 506.16
AOC Cable | AOC Cable | 20M QSFP28 (100G) - QSFP28 (100G) - AOC |  |  | 5 | 5 |  |  | flexoptix | Q.A851HG.20 | https://www.flexoptix.net/en/universal-dac-aoc/100-gigabit-aoc-qsfp-transceiver-mm-850nm.html?300=1141&co8506=76644 | 540.36
Rack Parts | Rack Parts | M6 Screws 3/4" |  |  | 200 | 400 |  |  | datafig | 5210 | https://www.stayonline.com/detail.aspx?id=12689 | 50
Rack Parts | Rack Parts | M6 Rack nuts |  |  | 200 | 400 |  |  | DataFig | 5810 | https://www.stayonline.com/detail.aspx?id=23012 | 50
Patch Panel | Patch Panel | 4U Patch Panel (Sliding) |  |  |  | 2 | Panduit | FCE4U | anixter | 364415 | https://www.anixter.com/en_us/products/FCE4U/PANDUIT/Fiber-Optic-Enclosures/p/364415 | 596.24
Patch Panel | Patch Panel | 2U Patch Panel (Sliding) |  |  |  |  | Panduit | FCE2U | anixter | 351635 | https://www.anixter.com/en_us/products/FCE2U/PANDUIT/Fiber-Optic-Enclosures/p/351635 | 441.17
Patch Panel | Patch Panel | 1U Patch Panel (Sliding) |  |  |  |  | Panduit | FCE1U | anixter | 351634 | https://www.anixter.com/en_us/products/FCE1U/PANDUIT/Fiber-Optic-Enclosures/p/351634 | 369.68
Patch Panel | Patch Panel | Fusion Splicing tray |  |  |  |  | Panduit | FOSMF | anixter | 351637 | https://www.anixter.com/en_us/products/FOSMF/PANDUIT/Fiber-Optic-Splices/p/351637?text=FOSMF | 90.65
Patch Panel | Patch Panel | 4U Fusion Splicing tray holder |  |  |  |  | Panduit | FOSMH4U | anixter | 364009 | https://www.anixter.com/en_us/products/FOSMH4U/PANDUIT/Fiber-Optic-Splices/p/364009 | 90.65
Patch Panel | Patch Panel | 12 Pair LC Duplex SMF Bulkhead |  |  | 12 | 24 |  |  | Fiberstore | FHD-FAP12LCDXSMF | https://www.fs.com/products/35488.html | 19
Patch Panel | Patch Panel | 12 Pair MTP Bulkhead |  |  | 4 | 8 |  |  | Fiberstore | FHD-FAP12MTPHA | https://www.fs.com/products/35510.html | 119
Rack Parts | Rack Parts | 2U Wire manager passthrough |  |  | 2 | 6 | chatsworth | 30530-719 | Anixter | 271868 | https://www.anixter.com/en_us/products/30530-719/CHATSWORTH-PRODUCTS-%28CPI%29/Rack-and-Cabinet-Accessories/p/271868 | 99.66
Rack Parts | Rack Parts | 1U Wire manager passthrough |  |  | 2 | 6 | chatsworth | 30529-719 | Anixter | 271867 | https://www.anixter.com/en_us/products/30529-719/CHATSWORTH-PRODUCTS-%28CPI%29/Rack-and-Cabinet-Accessories/p/271867?text=271867 | 93.56
Fiber cable | Fiber cable | 1M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) |  |  |  | 5 |  |  | Fiberstore | 68048 | https://www.fs.com/products/68048.htm | 57
Fiber cable | Fiber cable | 2M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) |  |  |  | 5 |  |  | Fiberstore | 69021 | https://www.fs.com/products/69021.html | 58
Fiber cable | Fiber cable | 3M - MTP (F) (0.35DB) -4xLC UPC Duplex (Type B) SMF BI, (Outer pins, 1,12 2,11, 3,10, 4,9) |  |  |  | 5 |  |  | Fiberstore | 68054 | https://www.fs.com/products/68054.html | 59
Fiber cable | Fiber cable | 10M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, |  |  |  | 5 |  |  | Fiberstore | 68103 | https://www.fs.com/products/68103.html | 89
Fiber cable | Fiber cable | 15M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, |  |  |  | 5 |  |  | Fiberstore |  | https://www.fs.com/products/73706.htm | 99
Fiber cable | Fiber cable | 1M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, |  |  |  | 5 |  |  | Fiberstore | 12MTPSMF 30976 |  | 76
Fiber cable | Fiber cable | 3M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, |  |  |  | 5 |  |  | Fiberstore | 12MTPSMF 30976 |  | 79.06
Fiber cable | Fiber cable | 3M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type B) (12 strand) SMF BI, |  |  |  | 5 |  |  | Fiberstore | 12MTPSMF 30976 |  | 79
PPE | Gloves | uncoated, touchscreen glove - size M | 1 | 1 | 2 | 3 | Ansell | 11-318 | zoro | G8496677 | https://www.zoro.com/ansell-cut-resistant-gloves-a2-cut-level-uncoated-m-1-pr-11-318/i/G8496677/ | 9.02 | 2021-07-22
PPE | Gloves | uncoated, touchscreen glove - size L | 1 | 1 | 2 | 3 | Ansell | 11-318 | zoro | G8496686 | https://www.zoro.com/ansell-cut-resistant-gloves-a2-cut-level-uncoated-l-1-pr-11-318/i/G8496686/ | 9.92 | 2021-07-22
PPE | Gloves | uncoated, touchscreen glove - size XL | 1 | 1 | 2 | 3 | Ansell | 11-318 | zoro | G8496695 | https://www.zoro.com/ansell-cut-resistant-gloves-a2-cut-level-uncoated-xl-1-pr-11-318/i/G8496695/ | 8.49 | 2021-07-22

## Version notes
2021-07-22
All parts re-verified
Added pricing from grainger
removed:
white color bin - no longer available
Clear bin is not as strong as the other bins - not a valid replacement
multiple other parts added to retired parts

## Retired PARTS
Tools | screwdrivers | screwdriver set | 1 | 1 | 2 | 2 |  |  | grainger | 6C287 | http://www.grainger.com/Grainger/STANLEY-Combination-Screwdriver-Set-6C287 | 2021-07-22
Tools | drill bits | long #3 bits | 1 | 1 | 1 | 2 |  |  | grainger | 3ECH3 | http://www.grainger.com/Grainger/IRWIN-Phillips-Power-Bit-3ECH3
Tools | Drill | 20v/ 110V Drill | 1 | 1 | 1 | 2 |  |  | grainger | 2AEU8 | https://www.grainger.com/product/DEWALT-20V-MAX-Premium-Li-Ion-1-2-39RW10
Tools | Drill adapter | 200W 110V Adapter | [6 empty] | Amazon | B01M3MXMA3 | https://www.amazon.com/BESTEK-Converter-Voltage-International-Adapter/dp/B01M3MXMA3
Garbage | trash can | 44Gallon (large) |  | 1 | 1 | 2 |  |  | grainger | 5DMU5 | http://www.grainger.com/Grainger/RUBBERMAID-Utility-Container-3W224
Fiber parts | fiber cleaner | cletop - SC Duplex Cleaner | 1 | 1 | 1 | 2 |  |  | cletop | 14110611 | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/cletop-cassettes/afl-cletop-s-8500-10-0020mz-type-a-fiber-connector-cleaner-blue.html
Fiber parts | fiber cleaner | cletop - LC Duplex Cleaner | 1 | 1 | 1 | 2 |  |  | cletop | 14110611 | https://www.specialized.net/fiber-optic/cleaning-products/cassette-type-cleaners/afl-cletop-s-8500-10-0029mz-type-b-fiber-connector-cleaner-blue.html
Fiber parts | fiber cleaner | LC/SC/MTP (F) Cleaner | 1 | 1 | 1 | 2 | cletop | 14110501 | cletop | 14110501 | http://www.amazon.com/CLETOP-S-14110501-Type-Cleaner-Blue/dp/B008E0M4XE
Fiber parts | Fiber tester | SC to LC Adapter | [6 empty] | Fiberstore | AD-FVFL | https://www.fs.com/products/66804.html
Fiber parts | Fiber tester | 60Km Visual Fault Locator | 1 | 1 | 1 | 1 |  |  | Fiberstore | 66808 | https://www.fs.com/products/66808.html
Fiber parts | Fiber tester | Light Meter | 1 | 1 | 1 | 1 |  |  | Fiberstore | 11148 | https://www.fs.com/products/11148.html
Fiber parts | Fiber tester | Light Source | 1 | 1 | 1 | 1 |  |  | Fiberstore | 17996 | https://www.fs.com/products/17996.html
Fiber parts | Fiber tester | Fiber Magnifier | 1 | 1 | 1 | 1 |  |  | Fiberstore | FFOI-601 | https://www.fs.com/products/14126.html
Fiber parts | fiber attenuator | 3dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48522 | https://www.fs.com/products/48522.html |  | http://www.amazon.com/Lynn-Electronics-LCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DFYS
Fiber parts | fiber attenuator | 5dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48523 | https://www.fs.com/products/48523.html |  | http://www.amazon.com/Lynn-Electronics-LCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG1K
Fiber parts | fiber attenuator | 7dB LC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48525 | https://www.fs.com/products/48525.html |  | http://www.amazon.com/Lynn-Electronics-LCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DG0Q
Fiber parts | fiber attenuator | 3dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48528 | https://www.fs.com/products/48528.html |  | http://www.amazon.com/Lynn-Electronics-SCU-3DB-ATTN-In-line-Attenuator/dp/B008E3DG8
Fiber parts | fiber attenuator | 5dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48529 | https://www.fs.com/products/48529.html |  | http://www.amazon.com/Lynn-Electronics-SCU-5DB-ATTN-In-line-Attenuator/dp/B008E3DG60
Fiber parts | fiber attenuator | 10dB SC Attenuator | 5 | 10 | 10 | 10 |  |  | Fiberstore | 48531 | https://www.fs.com/products/48531.html |  | http://www.amazon.com/Lynn-Electronics-SCU-10DB-ATTN-In-line-Attenuator/dp/B008E3DGJW
Fiber cable | Fiber cable | 1M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-1M-PVC | https://www.fs.com/products/59578.html
Fiber cable | Fiber cable | 2M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-2M-PVC | https://www.fs.com/products/59579.html
Fiber cable | Fiber cable | 3M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-3M-PVC | https://www.fs.com/products/59580.html
Fiber cable | Fiber cable | 5M - LC-LC SMF Duplex UPC BI |  |  | 10 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-5M-PVC | https://www.fs.com/products/59582.html
Fiber cable | Fiber cable | 10M - LC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-10M-PVC
Fiber cable | Fiber cable | 15M - LC-LC SMF Duplex UPC BI |  |  | 5 |  |  |  | Fiberstore | SM-LCU-LCU-DXBI-FS-15M-PVC
Fiber cable | Fiber cable | 1M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-1M-PVC | FS.com
Fiber cable | Fiber cable | 2M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-2M-PVC | FS.com
Fiber cable | Fiber cable | 3M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-3M-PVC | FS.com
Fiber cable | Fiber cable | 5M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-5M-PVC | FS.com
Fiber cable | Fiber cable | 10M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-10M-PVC | FS.com
Fiber cable | Fiber cable | 15M - SC-SC mm - OM4 UPC Duplex BI | [6 empty] | Fiberstore | OM4-SC-SC-DX-FS-15M-PVC | FS.com
Rack Parts | Rack Parts | 1U Brushpanel |  |  | 2
Patch Panel | Patch Panel | 12 Pair LC Duplex SMF to 3x MTP Bulkhead |  |  | 4 |  |  |  | Elpeus
Fiber cable | Fiber cable | 8M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, | [6 empty] | Fiberstore
Fiber cable | Fiber cable | 12M - MTP (M) (0.35DB) -MTP (M) (0.35DB) (12 strand) (Type A) SMF BI, | [6 empty] | Fiberstore
Fiber cable | Fiber cable | 2M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type B) (12 strand) SMF BI, | [6 empty] | Fiberstore | 12MTPSMF 30976
Fiber cable | Fiber cable | 2M - MTP (F) (0.35DB) - MTP (F) (0.35DB (Type A) (12 strand) SMF BI, | [6 empty] | Fiberstore | 12MTPSMF 30976